{"text_format":"3","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":51,"n_cols":10,"rows_kept":51,"merged":[[0,0,0,9],[50,0,50,9]]}
["防城港职业技术学院2022年第一批水电零星维修材料采购项目报价单"]
["序号","项目名称","品牌","型号","单位","数量","单价（元）","金额（元）","保质期","备注"]
[1,"平板灯60*60",null,"48W",100,"只"]
[2,"螺口LED灯",null,"10W",100,"只"]
[3,"螺口 LED灯",null,"40W",100,"只"]
[4,"LED灯盘",null,"30W",100,"套"]
[5,"螺口灯座",null,"E27",100,"只"]
[6,"1.2米LED灯条",null,"30W",300,"条"]
[7,"1.2米LED灯支架",null,"1.2米",100,"条"]
[8,"花洒头",null,"三挡",200,"只"]
[9,"花洒管",null,"1.5米长",200,"条"]
[10,"单冷大弯龙头",null,"304不锈钢  Φ15",100,"个"]
[11,"冲水箱",null,null,100,"套"]
[12,"角阀",null,"304不锈钢铜芯",100,"个"]
[13,"洗手盆下水器套装",null,"塑料",100,"条"]
[14,"吸顶灯LED灯芯",null,"30W",100,"个"]
[15,"空开",null,"2PC32",18,"个"]
[16,"漏开",null,"1PC32",20,"个"]
[17,"空开",null,"3PC63",20,"个"]
[18,"空开",null,"2PC63",20,"个"]
[19,"空开",null,"1PC20",50,"个"]
[20,"螺口玉米灯\n（高杆路灯）",null,"30W",50,"个"]
[21,"不锈钢编织软管",null,"60cm",50,"条"]
[22,"充电式手电钻",null,null,3,"台"]
[23,"楼顶扇",null,null,100,"台"]
[24,"双开暗装开关",null,null,50,"个"]
[25,"钢质门拉手",null,null,50,"双"]
[26,"锁板",null,null,50,"把"]
[27,"锁芯",null,"铜芯",50,"把"]
[28,"三控暗装开关",null,null,50,"个"]
[29,"五孔暗装插座",null,null,100,"个"]
[30,"1.5平铜芯线（单股）",null,"红色",600,"米"]
[31,"1.5平铜芯线（单股）",null,"黄色",300,"米"]
[32,"2.5平铜芯线（单股）",null,"红色",300,"米"]
[33,"2.5平铜芯线（单股）",null,"黄色",300,"米"]
[34,"4.0平铜芯线",null,"红色多股软线BVV",300,"米"]
[35,"4.0平铜芯线",null,"黄色多股软线BVV",300,"米"]
[36,"生料带",null,null,50,"卷"]
[37,"电工胶带",null,null,50,"卷"]
[38,"不锈钢插销",null,"5寸",100,"个"]
[39,"不锈钢拉手",null,"16厘米长",200,"个"]
[40,"吊扇",null,"纯铜绿色65W \n 48寸",50,"台"]
[41,"雨衣（一体式）",null,"黑色反光标",10,"套"]
[42,"高筒雨鞋",null,"黑色回力牌",10,"双"]
[43,"强光头灯",null,null,5,"台"]
[44,"按压式电线连接器",null,null,200,"个"]
[45,"PVC线槽 24",null,null,200,"米"]
[46,"PVC线管20",null,null,200,"米"]
[47,"测电笔",null,"隔墙暗线检测专用",2,"把"]
[null,"合计"]
["\n其他要求：\n1.报价含税、运费等一切费用。\n2.所采购货物质保期光源部分至少1年，其余的至少为2年。\n3.成交供应商须按采购人的要求供货，否则采购人有权拒收。\n4.供应商报价时应填上品牌、型号、单价、金额、保质期等信息。\n\n\n\n"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0}