{"text_format":"3","workbook":"xls","n_sheets":12,"sheets":["封-1招标工程量清单封面","扉-1招标工程量清单扉页","表-01总说明","表-02建设项目投标报价汇总表","表-03单项工程投标报价汇总表","表-04单位工程投标报价汇总表(总)","表-04单位工程投标报价汇总表(详)","表-08分部分项工程和单价措施项目清单与计价表","表-11总价措施项目清单与计价表","表-12其他项目清单与计价汇总表","表-15规费、增值税计价表","材料价格表(信息价)"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"封-1招标工程量清单封面","index":0,"n_rows":36,"n_cols":4,"rows_kept":36,"merged":[[4,1,5,2],[12,1,12,3],[23,2,24,3],[25,2,25,3],[27,2,28,3],[29,2,29,3],[31,2,31,3],[32,0,32,4],[33,0,33,4],[34,0,34,4],[36,0,36,4]],"flags":["formulas_cached_only"]}
[]
[]
[]
[]
[null,"校园消防设施维修工程"]
[{"$nulls":3},"工程"]
[]
[]
[]
[]
[]
[]
[null,"招标工程量清单"]
{"$rows_empty":11}
[null,"招  标  人："]
[null,null,"（单位盖章）"]
[]
[]
[null,"造价咨询人："]
[null,null,"（单位盖章）"]
[]
[]
[]
["                      软件名称及版本号：广龙计价软件2018版 11.0.0.5"]
["                      软件测评合格编号：2016A03"]
[null,null,"              "]

{"sheet":"扉-1招标工程量清单扉页","index":1,"n_rows":33,"n_cols":8,"rows_kept":33,"merged":[[4,2,5,6],[9,2,9,7],[16,2,17,2],[16,5,17,7],[18,5,18,7],[21,2,22,2],[21,5,22,7],[23,5,23,7],[26,2,27,2],[26,5,27,7],[28,5,28,7],[32,5,32,7],[33,0,33,8]],"flags":["formulas_cached_only"]}
[]
[]
[]
[]
[null,null,"校园消防设施维修工程"]
[{"$nulls":7},"工程"]
[]
[]
[]
[null,null,"招标工程量清单"]
{"$rows_empty":7}
[null,"招  标  人：",null,null,"造价咨询人："]
[null,null,"（单位盖章）",null,null,"（单位资质专用章）"]
[]
[]
[null,"法定代表人",null,null,"法定代表人"]
[null,"或其授权人：",null,null,"或其授权人："]
[null,null,"（签字或盖章）",null,null,"（签字或盖章）"]
[]
[]
[]
[null,"编  制  人：",null,null,"复  核  人："]
[null,null,"（造价人员签字）",null,null,"（造价工程师签字盖专用章）"]
[]
[]
[]
[null,"编 制 时 间：",null,null,"复 核 时 间："]

{"sheet":"表-01总说明","index":2,"n_rows":4,"n_cols":3,"rows_kept":4,"merged":[[0,0,0,2],[1,0,1,2],[2,0,2,1],[3,0,3,2]],"flags":["formulas_cached_only"]}
["总   说   明"]
[]
["工程名称:校园消防设施维修工程",null,"第1页,共1页"]
["一、工程概况：本项目为校园消防设施维修工程，含教学楼、食堂、宿舍、体育馆、图书馆、行政楼消防改造。\r\n\r\n二、工程项目预算编制依据。\r\n    1、工程量清单:《建设工程工程量清单计价规范》（GB50500～2013）、《<建设工程工程量清单计价规范（GB50500～2013）>广西壮族自治区实施细则》、《<建设工程工程量清单计算规范（GB50854～50858-2013）>广西壮族自治区实施细则》(修订版)。\r\r\n    2、2013年版《广西壮族自治区建筑装饰装修工程消耗量定额》、2015年版《广西壮族自治区安装工程消耗量定额》、2013年《广西壮族自治区安装工程拆除消耗量定额》、2016年版《广西壮族自治区建设工程费用定额》。\r\r\n    3、桂建标[2016]17号《关于建筑业实施营业税改征增值税后广西壮族自治区建设工程计价依据调整的通知》。\r\r\n    4、桂造价[2017]2号文《关于定额中汽油标号修改的通知》。\r\r\n    5、桂建标[2018]14号文《自治区住房城乡建设厅关于调整建设工程计价增值税税率的通知》。\r\r\n    6、桂建标[2018]19号文《自治区住房城乡建设厅关于调整建设工程定额人工费及有关费率的通知》。\r\r\n    7、防政发[2017]23号文《防城港市人民政府关于落实政府补助类建设工程项目增值税相关政策的通知\r\n    8、材料价格按《防城港市建设工程造价信息》2022年6月份除税信息价，缺项部分参考南宁市同期信息价获取或通过市场询价。\r\r\n    9、与建设工程项目有关的定额、标准、规范、技术资料及其他相关资料\r\r\n   10、本工程采用一般计税法。\r\n\r\n三、主要材料单价按照《防城港建设工程造价信息》2022年第6信息价，或市场询价。\r\n"]

{"sheet":"表-02建设项目投标报价汇总表","index":3,"n_rows":39,"n_cols":5,"rows_kept":39,"merged":[[0,0,0,4],[1,0,1,4],[2,0,2,2],[2,3,2,4],[3,0,4,0],[3,1,4,1],[3,2,4,2],[3,3,3,4]],"flags":["formulas_cached_only"]}
["建设项目投标报价汇总表"]
[]
["工程名称：校园消防设施维修工程",null,null,"第1页 共1页"]
["序号","单项工程名称","金额(元)","其中：(元)"]
[{"$nulls":3},"暂估价","安全文明\n施工费"]
["1.1","校园消防设施维修工程"," "," "," "]
{"$rows_empty":31}
[{"$nulls":4}," "]
[null,"投标报价合计"]

{"sheet":"表-03单项工程投标报价汇总表","index":4,"n_rows":38,"n_cols":5,"rows_kept":38,"merged":[[0,0,0,4],[1,0,1,4],[2,0,2,2],[2,3,2,4],[3,0,4,0],[3,1,4,1],[3,2,4,2],[3,3,3,4]],"flags":["formulas_cached_only"]}
["单项工程投标报价汇总表"]
[]
["工程名称：校园消防设施维修工程",null,null,"第1页 共1页"]
["序号","单位工程名称","金额(元)","其中：(元)"]
[{"$nulls":3},"暂估价","安全文明\n施工费"]
["1.1.1","校园消防设施维修工程-食堂"," "," "," "]
["1.1.2","校园消防设施维修工程-A、B教学楼"," "," "," "]
["1.1.3","校园消防设施维修工程-1#~6#宿舍楼"," "," "," "]
["1.1.4","校园消防设施维修工程-体育馆"," "," "," "]
["1.1.5","校园消防设施维修工程-行政办公楼"," "," "," "]
["1.1.6","校园消防设施维修工程-图书馆"," "," "," "]
{"$rows_empty":25}
[{"$nulls":4}," "]
[null,"投标报价合计"]

{"sheet":"表-04单位工程投标报价汇总表(总)","index":5,"n_rows":41,"n_cols":4,"rows_kept":41,"merged":[[0,0,0,3],[1,0,1,3],[2,0,2,1],[2,2,2,3]],"flags":["formulas_cached_only"]}
["单位工程投标报价汇总表"]
[]
["工程名称:校园消防设施维修工程",null,"第1页 共1页"]
["序号","汇总内容","金额(元)","备注"]
["1","分部分项工程和单价措施项目清单计价合计"," "]
["1.1","其中：暂估价"," "]
["2","总价措施项目清单计价合计"," "]
["2.1","其中：安全文明施工费"," "]
["3","其他项目清单计价合计"," "]
["4","税前项目清单计价合计"," "]
["5","规费"," "]
["6","增值税"," "]
["7","工程总造价=1+2+3+4+5+6"," "]
{"$rows_empty":27}
[{"$nulls":3}," "]

{"sheet":"表-04单位工程投标报价汇总表(详)","index":6,"n_rows":117,"n_cols":4,"rows_kept":117,"merged":[[0,0,0,3],[1,0,1,3],[2,0,2,1],[2,2,2,3],[4,1,4,3],[15,1,15,3],[26,1,26,3],[37,1,37,3],[38,0,38,3],[39,0,39,3],[40,0,40,1],[40,2,40,3],[52,1,52,3],[63,1,63,3],[74,1,74,3],[76,0,76,3],[77,0,77,3],[78,0,78,1],[78,2,78,3]],"flags":["formulas_cached_only"]}
["单位工程投标报价汇总表"]
[]
["工程名称:校园消防设施维修工程",null,"第1页 共3页"]
["序号","汇总内容","金额(元)","备注"]
[null,"校园消防设施维修工程-食堂"]
["一","给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
["1","分部分项工程和单价措施项目清单计价合计"," "]
["1.1","其中：暂估价"," "]
["2","总价措施项目清单计价合计"," "]
["2.1","其中：安全文明施工费"," "]
["3","其他项目清单计价合计"," "]
["4","税前项目清单计价合计"," "]
["5","规费"," "]
["6","增值税"," "]
["7","工程总造价=1+2+3+4+5+6"," "]
[null,"校园消防设施维修工程-A、B教学楼"]
["二","给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
["1","分部分项工程和单价措施项目清单计价合计"," "]
["1.1","其中：暂估价"," "]
["2","总价措施项目清单计价合计"," "]
["2.1","其中：安全文明施工费"," "]
["3","其他项目清单计价合计"," "]
["4","税前项目清单计价合计"," "]
["5","规费"," "]
["6","增值税"," "]
["7","工程总造价=1+2+3+4+5+6"," "]
[null,"校园消防设施维修工程-1#~6#宿舍楼"]
["三","给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
["1","分部分项工程和单价措施项目清单计价合计"," "]
["1.1","其中：暂估价"," "]
["2","总价措施项目清单计价合计"," "]
["2.1","其中：安全文明施工费"," "]
["3","其他项目清单计价合计"," "]
["4","税前项目清单计价合计"," "]
["5","规费"," "]
["6","增值税"," "]
["7","工程总造价=1+2+3+4+5+6"," "]
[null,"校园消防设施维修工程-体育馆"]
["单位工程投标报价汇总表"]
[]
["工程名称:校园消防设施维修工程",null,"第2页 共3页"]
["序号","汇总内容","金额(元)","备注"]
["四","给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
["1","分部分项工程和单价措施项目清单计价合计"," "]
["1.1","其中：暂估价"," "]
["2","总价措施项目清单计价合计"," "]
["2.1","其中：安全文明施工费"," "]
["3","其他项目清单计价合计"," "]
["4","税前项目清单计价合计"," "]
["5","规费"," "]
["6","增值税"," "]
["7","工程总造价=1+2+3+4+5+6"," "]
[null,"校园消防设施维修工程-行政办公楼"]
["五","给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
["1","分部分项工程和单价措施项目清单计价合计"," "]
["1.1","其中：暂估价"," "]
["2","总价措施项目清单计价合计"," "]
["2.1","其中：安全文明施工费"," "]
["3","其他项目清单计价合计"," "]
["4","税前项目清单计价合计"," "]
["5","规费"," "]
["6","增值税"," "]
["7","工程总造价=1+2+3+4+5+6"," "]
[null,"校园消防设施维修工程-图书馆"]
["六","给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
["1","分部分项工程和单价措施项目清单计价合计"," "]
["1.1","其中：暂估价"," "]
["2","总价措施项目清单计价合计"," "]
["2.1","其中：安全文明施工费"," "]
["3","其他项目清单计价合计"," "]
["4","税前项目清单计价合计"," "]
["5","规费"," "]
["6","增值税"," "]
["7","工程总造价=1+2+3+4+5+6"," "]
[null,"校园消防设施维修工程"]
[null,"工程总价汇总"]
["单位工程投标报价汇总表"]
[]
["工程名称:校园消防设施维修工程",null,"第3页 共3页"]
["序号","汇总内容","金额(元)","备注"]
["1","分部分项工程和单价措施项目清单计价合计"," "]
["1.1","其中：暂估价"," "]
["2","总价措施项目清单计价合计"," "]
["2.1","其中：安全文明施工费"," "]
["3","其他项目清单计价合计"," "]
["4","税前项目清单计价合计"," "]
["5","规费"," "]
["6","增值税"," "]
["7","工程总造价=1+2+3+4+5+6"," "]
{"$rows_empty":27}
[{"$nulls":3}," "]

{"sheet":"表-08分部分项工程和单价措施项目清单与计价表","index":7,"n_rows":468,"n_cols":10,"rows_kept":468,"merged":[[0,0,0,9],[2,0,2,6],[2,7,2,9],[3,0,4,0],[3,1,4,1],[3,2,4,4],[3,5,4,5],[3,6,4,6],[3,7,3,9],[5,2,5,9],[6,2,6,4],[7,2,7,4],[8,2,8,4],[9,2,9,4],[10,2,10,4],[11,2,11,4],[12,2,12,4],[13,2,13,4],[14,2,14,4],[15,2,15,4],[16,2,16,4],[17,2,17,4],[18,2,18,4],[19,2,19,4],[20,2,20,4],[21,2,21,4],[22,2,22,4],[23,0,23,9],[25,0,25,6],[25,7,25,9],[26,0,27,0],[26,1,27,1],[26,2,27,4],[26,5,27,5],[26,6,27,6],[26,7,26,9],[28,2,28,4],[29,2,29,4],[30,2,30,4],[31,2,31,4],[32,2,32,4],[33,2,33,4],[34,2,34,4],[35,2,35,4],[36,2,36,4],[37,2,37,4],[38,2,38,4],[39,2,39,4],[40,2,40,4],[41,2,41,4],[42,2,42,4],[43,2,43,4],[44,2,44,4],[45,2,45,4],[46,2,46,4],[47,2,47,4],[48,2,48,4],[49,2,49,4],[50,2,50,4],[51,2,51,4],[52,0,52,9],[54,0,54,6],[54,7,54,9],[55,0,56,0],[55,1,56,1],[55,2,56,4],[55,5,56,5],[55,6,56,6],[55,7,55,9],[57,2,57,4],[58,2,58,4],[59,2,59,4],[60,2,60,4],[61,2,61,4],[62,2,62,4],[63,2,63,4],[64,2,64,4],[65,2,65,4],[66,2,66,4],[67,2,67,4],[68,2,68,4],[69,2,69,4],[70,2,70,4],[71,2,71,4],[72,2,72,4],[73,2,73,4],[74,2,74,4],[75,2,75,4],[76,2,76,4],[77,2,77,4],[78,2,78,4],[79,2,79,4],[80,2,80,4],[81,2,81,4],[82,2,82,4],[83,2,83,4],[84,2,84,9],[85,2,85,4],[86,0,86,9],[88,0,88,6],[88,7,88,9],[89,0,90,0],[89,1,90,1],[89,2,90,4],[89,5,90,5],[89,6,90,6],[89,7,89,9],[91,2,91,4],[92,2,92,4],[93,2,93,4],[94,2,94,4],[95,2,95,4],[96,2,96,4],[97,2,97,4],[98,2,98,4],[99,2,99,4],[100,2,100,4],[101,2,101,4],[102,2,102,4],[103,2,103,4],[104,2,104,4],[105,2,105,4],[106,2,106,4],[107,2,107,4],[108,2,108,4],[109,2,109,4],[110,2,110,4],[111,2,111,4],[112,2,112,4],[113,2,113,4],[114,2,114,4],[115,2,115,4],[116,0,116,9],[118,0,118,6],[118,7,118,9],[119,0,120,0],[119,1,120,1],[119,2,120,4],[119,5,120,5],[119,6,120,6],[119,7,119,9],[121,2,121,4],[122,2,122,4],[123,2,123,4],[124,2,124,4],[125,2,125,4],[126,2,126,9],[127,2,127,4],[128,2,128,4],[129,2,129,4],[130,2,130,4],[131,2,131,4],[132,2,132,4],[133,2,133,4],[134,2,134,4],[135,2,135,4],[136,2,136,4],[137,2,137,4],[138,2,138,4],[139,2,139,4],[140,2,140,4],[141,2,141,4],[142,2,142,4],[143,2,143,4],[144,2,144,4],[145,0,145,9],[147,0,147,6],[147,7,147,9],[148,0,149,0],[148,1,149,1],[148,2,149,4],[148,5,149,5],[148,6,149,6],[148,7,148,9],[150,2,150,4],[151,2,151,4],[152,2,152,4],[153,2,153,4],[154,2,154,4],[155,2,155,4],[156,2,156,4],[157,2,157,4],[158,2,158,4],[159,2,159,4],[160,2,160,4],[161,2,161,4],[162,2,162,4],[163,2,163,9],[164,2,164,4],[165,2,165,4],[166,2,166,4],[167,2,167,4],[168,2,168,4],[169,2,169,4],[170,2,170,4],[171,2,171,4],[172,2,172,4],[173,2,173,4],[174,2,174,4],[175,2,175,4],[176,2,176,4],[177,0,177,9],[179,0,179,6],[179,7,179,9],[180,0,181,0],[180,1,181,1],[180,2,181,4],[180,5,181,5],[180,6,181,6],[180,7,180,9],[182,2,182,4],[183,2,183,4],[184,2,184,4],[185,2,185,4],[186,2,186,4],[187,2,187,4],[188,2,188,4],[189,2,189,4],[190,2,190,4],[191,2,191,4],[192,2,192,4],[193,2,193,4],[194,2,194,4],[195,2,195,4],[196,2,196,4],[197,2,197,4],[198,2,198,4],[199,2,199,4],[200,2,200,4],[201,2,201,4],[202,2,202,4],[203,2,203,4],[204,2,204,4],[206,0,206,9],[208,0,208,6],[208,7,208,9],[209,0,210,0],[209,1,210,1],[209,2,210,4],[209,5,210,5],[209,6,210,6],[209,7,209,9],[211,2,211,4],[212,2,212,4],[213,2,213,4],[214,2,214,4],[215,2,215,4],[216,2,216,4],[217,2,217,4],[218,2,218,4],[219,2,219,4],[220,2,220,4],[221,2,221,4],[222,2,222,4],[223,2,223,4],[224,2,224,4],[225,2,225,4],[226,2,226,4],[227,2,227,4],[228,2,228,4],[229,2,229,4],[230,2,230,4],[231,2,231,4],[232,2,232,4],[233,2,233,4],[234,2,234,4],[235,2,235,4],[236,2,236,4],[237,0,237,9],[239,0,239,6],[239,7,239,9],[240,0,241,0],[240,1,241,1],[240,2,241,4],[240,5,241,5],[240,6,241,6],[240,7,240,9],[242,2,242,4],[243,2,243,4],[244,2,244,4],[245,2,245,4],[246,2,246,4],[247,2,247,4],[248,2,248,4],[249,2,249,4],[250,2,250,4],[251,2,251,4],[252,2,252,4],[253,2,253,4],[254,2,254,4],[255,2,255,4],[256,2,256,4],[257,2,257,4],[258,2,258,4],[259,2,259,4],[260,2,260,4],[261,2,261,4],[262,2,262,4],[263,2,263,4],[264,2,264,4],[265,2,265,9],[266,2,266,4],[267,2,267,4],[268,2,268,4],[270,0,270,9],[272,0,272,6],[272,7,272,9],[273,0,274,0],[273,1,274,1],[273,2,274,4],[273,5,274,5],[273,6,274,6],[273,7,273,9],[275,2,275,4],[276,2,276,4],[277,2,277,4],[278,2,278,4],[279,2,279,4],[280,2,280,4],[281,2,281,4],[282,2,282,4],[283,2,283,4],[284,2,284,4],[285,2,285,4],[286,2,286,4],[287,2,287,4],[288,2,288,4],[289,2,289,4],[290,2,290,4],[291,2,291,4],[292,2,292,4],[293,2,293,4],[294,2,294,4],[295,2,295,4],[296,2,296,4],[297,2,297,4],[298,2,298,4],[299,2,299,4],[300,0,300,9],[302,0,302,6],[302,7,302,9],[303,0,304,0],[303,1,304,1],[303,2,304,4],[303,5,304,5],[303,6,304,6],[303,7,303,9],[305,2,305,4],[306,2,306,4],[307,2,307,4],[308,2,308,4],[309,2,309,4],[310,2,310,4],[311,2,311,4],[312,2,312,4],[313,2,313,4],[314,2,314,4],[315,2,315,4],[316,2,316,4],[317,2,317,4],[318,2,318,4],[319,2,319,4],[320,2,320,4],[321,2,321,4],[322,2,322,4],[323,2,323,4],[324,2,324,4],[325,2,325,4],[326,2,326,4],[327,2,327,4],[328,2,328,4],[329,2,329,4],[330,2,330,4],[331,2,331,9],[332,2,332,4],[333,2,333,4],[334,0,334,9],[336,0,336,6],[336,7,336,9],[337,0,338,0],[337,1,338,1],[337,2,338,4],[337,5,338,5],[337,6,338,6],[337,7,337,9],[339,2,339,4],[340,2,340,4],[341,2,341,4],[342,2,342,4],[343,2,343,4],[344,2,344,4],[345,2,345,4],[346,2,346,4],[347,2,347,4],[348,2,348,4],[349,2,349,4],[350,2,350,4],[351,2,351,4],[352,2,352,4],[353,2,353,4],[354,2,354,4],[355,2,355,4],[356,2,356,4],[357,2,357,4],[358,2,358,4],[359,2,359,4],[360,2,360,4],[361,2,361,4],[362,2,362,4],[363,0,363,9],[365,0,365,6],[365,7,365,9],[366,0,367,0],[366,1,367,1],[366,2,367,4],[366,5,367,5],[366,6,367,6],[366,7,366,9],[368,2,368,4],[369,2,369,4],[370,2,370,4],[371,2,371,4],[372,2,372,4],[373,2,373,4],[374,2,374,4],[375,2,375,4],[376,2,376,4],[377,2,377,4],[378,2,378,4],[379,2,379,4],[380,2,380,4],[381,2,381,4],[382,2,382,4],[383,2,383,4],[384,2,384,4],[385,2,385,4],[386,2,386,4],[387,2,387,4],[388,2,388,4],[389,2,389,4],[390,2,390,4],[391,2,391,4],[392,2,392,4],[393,2,393,4],[394,2,394,4],[395,2,395,4],[396,0,396,9],[398,0,398,6],[398,7,398,9],[399,0,400,0],[399,1,400,1],[399,2,400,4],[399,5,400,5],[399,6,400,6],[399,7,399,9],[401,2,401,4],[402,2,402,4],[403,2,403,4],[404,2,404,4],[405,2,405,4],[406,2,406,4],[407,2,407,4],[408,2,408,4],[409,2,409,4],[410,2,410,4],[411,2,411,4],[412,2,412,4],[413,2,413,4],[414,2,414,4],[415,2,415,4],[416,2,416,4],[417,2,417,4],[418,2,418,4],[419,2,419,4],[420,2,420,4],[421,2,421,4],[422,2,422,4],[423,2,423,4],[424,2,424,4],[425,2,425,4],[426,2,426,4],[427,2,427,4],[428,2,428,4],[429,2,429,4],[430,0,430,9],[432,0,432,6],[432,7,432,9],[433,0,434,0],[433,1,434,1],[433,2,434,4],[433,5,434,5],[433,6,434,6],[433,7,433,9],[435,2,435,4],[436,2,436,4],[437,2,437,4],[438,2,438,4],[439,2,439,4],[440,2,440,4],[441,2,441,4],[442,2,442,4],[443,2,443,4],[444,2,444,4],[445,2,445,4],[446,2,446,4],[447,2,447,4],[448,2,448,4],[449,2,449,4],[450,2,450,4],[451,2,451,4],[452,2,452,4],[453,2,453,4],[454,2,454,4],[455,2,455,4],[456,2,456,4],[457,2,457,4],[458,2,458,4],[459,2,459,4],[460,2,460,4],[461,2,461,4],[462,2,462,4],[463,2,463,4],[464,2,464,4],[465,2,465,4],[466,2,466,4],[467,2,467,4]],"flags":["formulas_cached_only"]}
["分部分项工程和单价措施项目清单与计价表"]
[]
["工程名称:校园消防设施维修工程",{"$nulls":6},"第1页 共15页"]
["序号","项目编码","项目名称及项目特征描述",null,null,"计量\r\n单位","工程量","金额(元)"]
[{"$nulls":7},"综合\r\n单价","合价","其中：\r\n暂估价"]
[null,null,"校园消防设施维修工程-食堂"]
[null,null,"分部分项工程"]
[null,"0304","电气设备安装工程"]
[1,"030411003001","300*100封闭式强电防火金属线槽,δ=2.0mm ",null,null,"m","203.42"]
[2,"030411003002","200*100封闭式强电防火金属线槽,δ=2.0mm ",null,null,"m","59.73"]
[3,"030413001001","一般铁构件制作安装",null,null,"kg","642.09"]
[4,"031201003001","金属结构刷油\r\n支架除锈后刷防锈二道漆，调和漆二道",null,null,"kg","642.09"]
[5,"030412004001","双头应急灯3W*LED\r\n1.距地2.4m墙上壁装",null,null,"套","94"]
[6,"030412004002","出口指示灯 1W*LED\r\n1.门顶0.1m壁装",null,null,"套","30"]
[7,"030412004003","单向疏散指示灯 1W*LED\r\n1.底边距地0.5m壁装",null,null,"套","56"]
[8,"030411001001","砖、混凝土结构暗配 SC15",null,null,"m","1462.17"]
[9,"030411004001","管内穿线 WDZN-BYJ-2.5m\r\n",null,null,"m","3094.34"]
[10,"030411004002","线槽内敷设WDZN-BYJ-2.5m\r\n",null,null,"m","1864.90"]
[11,"030413002001","管道刨沟槽及管沟槽恢复 管径20mm以内\r\n",null,null,"m","382.40"]
[null,"030901","水灭火系统"]
[12,"030901010001","更换消火栓 DN65（空箱体）\r\n1.拆除旧的消火栓箱；\r\n2.安装钢制消火栓箱240*700*1600mm；\r\n",null,null,"套","20"]
[13,"031003001001","更换末端试水阀DN15\r\n1.拆除旧试水阀；\r\n2.安装新试水阀。",null,null,"个","1"]
[14,"030901008001","更换末端试水装置DN25\r\n1.拆除旧末端试水装置；\r\n2.安装末端试水装置。",null,null,"组","1"]
["分部分项工程和单价措施项目清单与计价表"]
[]
["工程名称:校园消防设施维修工程",{"$nulls":6},"第2页 共15页"]
["序号","项目编码","项目名称及项目特征描述",null,null,"计量\r\n单位","工程量","金额(元)"]
[{"$nulls":7},"综合\r\n单价","合价","其中：\r\n暂估价"]
[null,"030904","火灾自动报警系统"]
[15,"030904012001","壁挂式区域火灾报警系统(联动型)",null,null,"台","1"]
[16,"030905001001","自动报警系统调试500点以下",null,null,"系统","1"]
[17,"桂030904020001","火灾显示盘",null,null,"台","3"]
[18,"030404032001","接线端子箱",null,null,"台","3"]
[19,"030905003001","切断非消防电源",null,null,"个","2"]
[20,"030905003002","防火控制装置调试 切断非消防电源调试",null,null,"点","2.000"]
[21,"030904001001","感温探测器\r\n1.含接线盒",null,null,"个","50"]
[22,"030904003001","手动报警按钮(带电话插孔)\r\n含接线底盒\r\n安装高度:中心距地1.5米暗装",null,null,"个","19"]
[23,"030904004001","消防警铃",null,null,"个","19"]
[24,"030904008001","短路隔离器HJ-1751",null,null,"套","3"]
[25,"030904008002","总线控制模块1825",null,null,"套","6"]
[26,"030904008003","输入模块HJ-1750",null,null,"套","3"]
[27,"030904008004","输入模块HJ-1750B",null,null,"套","3"]
[28,"030904008005","总线交流隔离器\r\n含接线底盒",null,null,"套","54"]
[29,"030904008006","单输入单输出控制模块  含接线底盒\r\n",null,null,"个","4"]
[30,"030904008007","楼层显示器\r\n",null,null,"个","4"]
[31,"030904008008","消防电源监控模块M12\r\n",null,null,"个","4"]
[32,"030411001002","镀锌钢管SC20",null,null,"m","10.41"]
[33,"030411001003","砖、混凝土结构暗配 SC20",null,null,"m","2545.61"]
[34,"030411001004","砖、混凝土结构暗配 SC25",null,null,"m","244.34"]
[35,"030411004003","管内穿线 ZCN-RVS-2*1.5m",null,null,"m","450.92"]
[36,"030411004004","管内穿线 ZCN-BV-2.5m",null,null,"m","4944.55"]
[37,"030411004005","管内穿线 ZCN-BV-1.5m",null,null,"m","411.23"]
["分部分项工程和单价措施项目清单与计价表"]
[]
["工程名称:校园消防设施维修工程",{"$nulls":6},"第3页 共15页"]
["序号","项目编码","项目名称及项目特征描述",null,null,"计量\r\n单位","工程量","金额(元)"]
[{"$nulls":7},"综合\r\n单价","合价","其中：\r\n暂估价"]
[38,"030411004006","管内穿线 ZCN-BV-1.0m",null,null,"m","66.64"]
[39,"030411004007","管内穿线 ZCN-BV-4m",null,null,"m","29.14"]
[40,"030411004008","管内穿线 ZCN-RVS-4*1.5m",null,null,"m","17.57"]
[41,"030413002002","管道刨沟槽及管沟槽恢复 管径20mm以内\r\n",null,null,"m","154.82"]
[42,"030413002003","管道刨沟槽及管沟槽恢复 管径25mm以内\r\n",null,null,"m","56.70"]
[null,"031001","给排水、采暖、燃气管道"]
[43,"030503003001","排查埋地消防管路漏水点",null,null,"点","2.000"]
[null,null,"小    计"]
[null,null,"∑人工费"]
[null,null,"∑材料费"]
[null,null,"∑机械费"]
[null,null,"∑管理费"]
[null,null,"∑利润"]
[null,null,"单价措施项目"]
[null,null,"小    计"]
[null,null,"∑人工费"]
[null,null,"∑材料费"]
[null,null,"∑机械费"]
[null,null,"∑管理费"]
[null,null,"∑利润"]
[null,null,"     "]
[null,null,"合    计"]
[null,null,"∑人工费"]
[null,null,"∑材料费"]
[null,null,"∑机械费"]
[null,null,"∑管理费"]
[null,null,"∑利润"]
[null,null,"校园消防设施维修工程-A、B教学楼"]
[null,null,"分部分项工程"]
["分部分项工程和单价措施项目清单与计价表"]
[]
["工程名称:校园消防设施维修工程",{"$nulls":6},"第4页 共15页"]
["序号","项目编码","项目名称及项目特征描述",null,null,"计量\r\n单位","工程量","金额(元)"]
[{"$nulls":7},"综合\r\n单价","合价","其中：\r\n暂估价"]
[null,"030901","水灭火系统"]
[44,"030901010001","更换消火栓 DN65（箱门）\r\n1.拆除旧的消火栓箱；\r\n2.安装钢制消火栓箱240*700*1600mm；\r\n",null,null,"套","106"]
[null,"030904","火灾自动报警系统"]
[45,"030904003001","更换按钮及底盒\r\n1.拆除旧的按钮、底盒；\r\n2.安装新的按钮、底盒。",null,null,"个","106"]
[46,"030904008001","总线隔离",null,null,"个","4"]
[47,"030411001001","砖、混凝土结构暗配 SC20",null,null,"m","902.40"]
[48,"030411001002","砖、混凝土结构暗配 SC25",null,null,"m","743.40"]
[49,"030411004001","管内配线 ZCN-BV-2.5mm2",null,null,"m","6836.20"]
[50,"030413002001","管道刨沟槽及管沟槽恢复 管径20mm以内\r\n",null,null,"m","286.20"]
[51,"030413002002","管道刨沟槽及管沟槽恢复 管径25mm以内\r\n",null,null,"m","127.20"]
[null,null,"小    计"]
[null,null,"∑人工费"]
[null,null,"∑材料费"]
[null,null,"∑机械费"]
[null,null,"∑管理费"]
[null,null,"∑利润"]
[null,null,"单价措施项目"]
[null,null,"小    计"]
[null,null,"∑人工费"]
[null,null,"∑材料费"]
[null,null,"∑机械费"]
[null,null,"∑管理费"]
[null,null,"∑利润"]
[null,null,"     "]
[null,null,"合    计"]
["分部分项工程和单价措施项目清单与计价表"]
[]
["工程名称:校园消防设施维修工程",{"$nulls":6},"第5页 共15页"]
["序号","项目编码","项目名称及项目特征描述",null,null,"计量\r\n单位","工程量","金额(元)"]
[{"$nulls":7},"综合\r\n单价","合价","其中：\r\n暂估价"]
[null,null,"∑人工费"]
[null,null,"∑材料费"]
[null,null,"∑机械费"]
[null,null,"∑管理费"]
[null,null,"∑利润"]
[null,null,"校园消防设施维修工程-1#~6#宿舍楼"]
[null,null,"分部分项工程"]
[null,"030901","水灭火系统"]
[52,"030901010001","更换消火栓 DN65（箱门）\r\n1.拆除旧的消火栓箱；\r\n2.安装钢制消火栓箱240*700*1600mm；\r\n",null,null,"套","180"]
[null,"030904","火灾自动报警系统"]
[53,"030904003001","更换按钮及底盒\r\n1.拆除旧的按钮、底盒；\r\n2.安装新的按钮、底盒。",null,null,"个","180"]
[54,"030904008001","总线隔离器\r\n",null,null,"套","6"]
[55,"030411001001","砖、混凝土结构暗配 SC20",null,null,"m","1253.64"]
[56,"030411001002","砖、混凝土结构暗配 SC25",null,null,"m","1253.64"]
[57,"030411004001","管内穿线 ZCN-BV-2.5m",null,null,"m","9405.48"]
[58,"030413002001","管道刨沟槽及管沟槽恢复 管径20mm以内\r\n",null,null,"m","783.00"]
[59,"030413002002","管道刨沟槽及管沟槽恢复 管径25mm以内\r\n",null,null,"m","783.00"]
[null,null,"小    计"]
[null,null,"∑人工费"]
[null,null,"∑材料费"]
[null,null,"∑机械费"]
[null,null,"∑管理费"]
[null,null,"∑利润"]
[null,null,"单价措施项目"]
["分部分项工程和单价措施项目清单与计价表"]
[]
["工程名称:校园消防设施维修工程",{"$nulls":6},"第6页 共15页"]
["序号","项目编码","项目名称及项目特征描述",null,null,"计量\r\n单位","工程量","金额(元)"]
[{"$nulls":7},"综合\r\n单价","合价","其中：\r\n暂估价"]
[null,null,"小    计"]
[null,null,"∑人工费"]
[null,null,"∑材料费"]
[null,null,"∑机械费"]
[null,null,"∑管理费"]
[null,null,"∑利润"]
[null,null,"     "]
[null,null,"合    计"]
[null,null,"∑人工费"]
[null,null,"∑材料费"]
[null,null,"∑机械费"]
[null,null,"∑管理费"]
[null,null,"∑利润"]
[null,null,"校园消防设施维修工程-体育馆"]
[null,null,"分部分项工程"]
[null,"0304","电气设备安装工程"]
[60,"030411003001","150*75强电金属防火线槽",null,null,"m","184.16"]
[61,"030411003002","100*75强电金属防火线槽",null,null,"m","3.90"]
[62,"030413001001","一般铁构件制作安装",null,null,"kg","412.98"]
[63,"031201003001","金属结构刷油\r\n支架除锈后刷防锈二道漆，调和漆二道",null,null,"kg","412.98"]
[64,"030412004001","出口指示灯 1W*LED\r\n1.门顶0.1m壁装",null,null,"套","54"]
[65,"030412004002","单向疏散指示灯 1W*LED\r\n1.底边距地0.5m壁装",null,null,"套","24"]
[66,"030412004003","应急照明吸顶灯12W",null,null,"套","16"]
[67,"030411001001","砖、混凝土结构暗配 SC15",null,null,"m","939.56"]
[68,"030411004001","管内穿线 WDZN-BYJ-2.5m\r\n",null,null,"m","1932.62"]
[69,"030411004002","线槽内敷设WDZN-BYJ-2.5m\r\n",null,null,"m","289.60"]
[70,"030413002001","管道刨沟槽及管沟槽恢复 管径20mm以内\r\n",null,null,"m","253.00"]
["分部分项工程和单价措施项目清单与计价表"]
[]
["工程名称:校园消防设施维修工程",{"$nulls":6},"第7页 共15页"]
["序号","项目编码","项目名称及项目特征描述",null,null,"计量\r\n单位","工程量","金额(元)"]
[{"$nulls":7},"综合\r\n单价","合价","其中：\r\n暂估价"]
[null,"030901","水灭火系统"]
[71,"030901010001","更换消火栓 DN65（箱门）\r\n1.拆除旧的消火栓箱；\r\n2.安装钢制消火栓箱240*700*1600mm；\r\n",null,null,"套","20"]
[72,"031003001001","更换末端试水阀DN15\r\n1.拆除旧试水阀；\r\n2.安装新试水阀。",null,null,"个","2"]
[null,"030904","火灾自动报警系统"]
[73,"030411003003","100*75强电金属防火线槽",null,null,"m","129.79"]
[74,"030411003004","75*50强电金属防火线槽",null,null,"m","37.30"]
[75,"030413001002","一般铁构件制作安装",null,null,"kg","366.93"]
[76,"031201003002","金属结构刷油\r\n支架除锈后刷防锈二道漆，调和漆二道",null,null,"kg","366.93"]
[77,"030904012001","壁挂式区域火灾报警系统(联动型)",null,null,"台","1"]
[78,"030905001001","自动报警系统调试128点以下",null,null,"系统","1"]
[79,"030404032001","接线端子箱",null,null,"台","1"]
[80,"030904003001","手动报警按钮(带电话插孔)\r\n含接线底盒\r\n安装高度:中心距地1.5米暗装",null,null,"个","19"]
[81,"030904004001","消防警铃",null,null,"个","19"]
[82,"030904006001","总线电话",null,null,"部","3"]
[83,"030904008002","短路隔离器HJ-1751",null,null,"套","2"]
[84,"030904008003","总线控制模块1825",null,null,"套","13"]
[85,"030904008004","多线控制模块1807",null,null,"套","4"]
[86,"030904008005","输入模块HJ-1750",null,null,"套","12"]
[87,"030904008006","输入模块HJ-1750B",null,null,"套","2"]
[88,"030904008007","线性红外光束感烟探测器专用模块JTY-SH-6410",null,null,"套","8"]
[89,"030904001001","线性红外光束感烟探测器接收器",null,null,"个","14"]
[90,"030904001002","线性红外光束感烟探测器发射器",null,null,"个","2"]
[91,"030901014001","电控式消防水炮安装 进水口",null,null,"台","4"]
[]
["分部分项工程和单价措施项目清单与计价表"]
[]
["工程名称:校园消防设施维修工程",{"$nulls":6},"第8页 共15页"]
["序号","项目编码","项目名称及项目特征描述",null,null,"计量\r\n单位","工程量","金额(元)"]
[{"$nulls":7},"综合\r\n单价","合价","其中：\r\n暂估价"]
[null,null,"径(100mm以内)\r\n1.参数：\r\nPSKD30.0.8MPa,60m,30L/S,2\r\n20V"]
[92,"桂030901015001","消防炮水流指示器（含接线）",null,null,"个","4"]
[93,"桂030901015002","消防炮电磁阀（含接线）",null,null,"个","4"]
[94,"030905002001","水灭火控制装置调试 消防水炮控制装置调试",null,null,"点","4.000"]
[95,"030901014002","消防水炮解码器",null,null,"台","4"]
[96,"030904012002","消防炮现场控制盘PXK-LA709",null,null,"台","4"]
[97,"030411001004","镀锌钢管埋地敷设SC80",null,null,"m","223.44"]
[98,"030411001005","镀锌钢管埋地敷设SC32",null,null,"m","4.88"]
[99,"030411001006","砖、混凝土结构暗配 SC20",null,null,"m","1242.89"]
[100,"030411001007","砖、混凝土结构暗配 SC25",null,null,"m","574.35"]
[101,"030408002002","控制电缆KVV22-5*6mm2",null,null,"m","5.00"]
[102,"030408002003","控制电缆ZCN-KVV-16*1.5mm2",null,null,"m","115.00"]
[103,"030411004006","管内穿线 ZCN-RVS-2*1.5m",null,null,"m","417.94"]
[104,"030411004007","管内穿线 ZCN-BV-2.5m",null,null,"m","4316.69"]
[105,"030411004008","管内穿线 ZCN-BV-1.5m",null,null,"m","741.62"]
[106,"030411004009","线槽配线 动力线路ZCN-BV-2.5m",null,null,"m","560.00"]
[107,"030411004010","线槽配线 动力线路ZCN-BV-1.5m",null,null,"m","520.00"]
[108,"030411004011","管内穿线 ZCN-BV-1.0m",null,null,"m","50.00"]
[109,"030411004012","管内穿线 ZCN-BV-6m",null,null,"m","10.00"]
[110,"030411004013","管内穿线 ZCN-BV-4m",null,null,"m","10.00"]
[111,"030411004014","线槽配线 动力线路 ZCN-BV-4m",null,null,"m","270.00"]
[112,"030411004015","管内穿线 ZCN-RVS-4*1.5m",null,null,"m","10.00"]
[113,"030411004016","线槽配线SYV-75-5",null,null,"m","220.30"]
[114,"030411004017","线槽配线RVV-2*1.5",null,null,"m","220.30"]
[115,"030411004018","线槽配线RVV-6*1.5",null,null,"m","220.30"]
[116,"030413002002","管道刨沟槽及管沟槽恢复 管径20mm以内\r\n",null,null,"m","210.57"]
["分部分项工程和单价措施项目清单与计价表"]
[]
["工程名称:校园消防设施维修工程",{"$nulls":6},"第9页 共15页"]
["序号","项目编码","项目名称及项目特征描述",null,null,"计量\r\n单位","工程量","金额(元)"]
[{"$nulls":7},"综合\r\n单价","合价","其中：\r\n暂估价"]
[117,"030413002003","管道刨沟槽及管沟槽恢复 管径25mm以内\r\n",null,null,"m","25.20"]
[null,"031001","给排水、采暖、燃气管道"]
[118,"030503003001","排查埋地消防管路漏水点",null,null,"点","2.000"]
[null,null,"小    计"]
[null,null,"∑人工费"]
[null,null,"∑材料费"]
[null,null,"∑机械费"]
[null,null,"∑管理费"]
[null,null,"∑利润"]
[null,null,"单价措施项目"]
[null,null,"小    计"]
[null,null,"∑人工费"]
[null,null,"∑材料费"]
[null,null,"∑机械费"]
[null,null,"∑管理费"]
[null,null,"∑利润"]
[null,null,"     "]
[null,null,"合    计"]
[null,null,"∑人工费"]
[null,null,"∑材料费"]
[null,null,"∑机械费"]
[null,null,"∑管理费"]
[null,null,"∑利润"]
[null,null,"校园消防设施维修工程-行政办公楼"]
[null,null,"分部分项工程"]
[null,"030901","水灭火系统"]
[119,"030901010001","更换消火栓 DN65（空箱体）\r\n1.拆除旧的消火栓箱；\r\n2.安装钢制消火栓箱240*700*1600mm；\r\n",null,null,"套","25"]
[]
["分部分项工程和单价措施项目清单与计价表"]
[]
["工程名称:校园消防设施维修工程",{"$nulls":6},"第10页 共15页"]
["序号","项目编码","项目名称及项目特征描述",null,null,"计量\r\n单位","工程量","金额(元)"]
[{"$nulls":7},"综合\r\n单价","合价","其中：\r\n暂估价"]
[120,"031003001001","更换末端试水阀DN15\r\n1.拆除旧试水阀；\r\n2.安装新试水阀。",null,null,"个","4"]
[121,"031003001002","更换末端试水装置DN15\r\n1.拆除旧试水装置；\r\n2.安装新试水装置。",null,null,"个","1"]
[122,"030901003001","水喷淋喷头DN15，无吊顶\r\n1.拆除旧喷淋头；\r\n2.安装新的喷淋头。",null,null,"个","100"]
[null,"030904","火灾自动报警系统"]
[123,"030904012001","壁挂式区域火灾报警系统(联动型)",null,null,"台","1"]
[124,"030905001001","自动报警系统调试256点以下",null,null,"系统","1"]
[125,"030404032001","接线端子箱",null,null,"台","5"]
[126,"030904003001","手动报警按钮(带电话插孔)\r\n含接线底盒\r\n安装高度:中心距地1.5米暗装",null,null,"个","18"]
[127,"030904003002","消火栓报警按钮（带地址编码）",null,null,"个","24"]
[128,"030904004001","消防警铃",null,null,"个","20"]
[129,"桂030904020001","火灾显示盘",null,null,"台","5"]
[130,"030904001001","感温探测器",null,null,"个","10"]
[131,"030904008001","短路隔离器HJ-1751",null,null,"套","5"]
[132,"030904008002","总线控制模块1825",null,null,"套","20"]
[133,"030904008003","输入模块HJ-1750",null,null,"套","5"]
[134,"030904008004","输入模块HJ-1750B",null,null,"套","5"]
[135,"030411001001","镀锌钢管埋地敷设SC20",null,null,"m","13.06"]
[136,"030411001002","砖、混凝土结构暗配 SC20",null,null,"m","2028.55"]
[137,"030411001003","砖、混凝土结构暗配 SC25",null,null,"m","228.33"]
[138,"030408002001","控制电缆KVV22-5*6mm2",null,null,"m","14.18"]
[139,"030411004001","管内穿线 ZCN-RVS-2*1.5m",null,null,"m","410.73"]
[140,"030411004002","管内穿线 ZCN-RVS-2*1.0m",null,null,"m","42.74"]
[141,"030411004003","管内穿线 ZCN-RVS-4*1.0m",null,null,"m","60.20"]
[142,"030411004004","管内穿线 ZCN-BV-2.5m",null,null,"m","3863.47"]
[143,"030411004005","管内穿线 ZCN-BV-1.5m",null,null,"m","646.14"]
["分部分项工程和单价措施项目清单与计价表"]
[]
["工程名称:校园消防设施维修工程",{"$nulls":6},"第11页 共15页"]
["序号","项目编码","项目名称及项目特征描述",null,null,"计量\r\n单位","工程量","金额(元)"]
[{"$nulls":7},"综合\r\n单价","合价","其中：\r\n暂估价"]
[144,"030411004006","管内穿线 ZCN-BV-4m",null,null,"m","149.20"]
[145,"030411004007","管内穿线 ZCN-RVS-4*1.5m",null,null,"m","315.57"]
[146,"030413002001","管道刨沟槽及管沟槽恢复 管径20mm以内\r\n",null,null,"m","141.60"]
[147,"030413002002","管道刨沟槽及管沟槽恢复 管径25mm以内\r\n",null,null,"m","18.60"]
[null,"031001","给排水、采暖、燃气管道"]
[148,"030503003001","排查埋地消防管路漏水点",null,null,"点","2.000"]
[null,null,"小    计"]
[null,null,"∑人工费"]
[null,null,"∑材料费"]
[null,null,"∑机械费"]
[null,null,"∑管理费"]
[null,null,"∑利润"]
[null,null,"单价措施项目"]
[null,null,"小    计"]
[null,null,"∑人工费"]
[null,null,"∑材料费"]
[null,null,"∑机械费"]
[null,null,"∑管理费"]
[null,null,"∑利润"]
[null,null,"     "]
[null,null,"合    计"]
[null,null,"∑人工费"]
[null,null,"∑材料费"]
[null,null,"∑机械费"]
[null,null,"∑管理费"]
[null,null,"∑利润"]
[null,null,"校园消防设施维修工程-图书馆"]
[null,null,"分部分项工程"]
[null,"0304","电气设备安装工程"]
["分部分项工程和单价措施项目清单与计价表"]
[]
["工程名称:校园消防设施维修工程",{"$nulls":6},"第12页 共15页"]
["序号","项目编码","项目名称及项目特征描述",null,null,"计量\r\n单位","工程量","金额(元)"]
[{"$nulls":7},"综合\r\n单价","合价","其中：\r\n暂估价"]
[149,"030412004001","应急照明灯",null,null,"套","8"]
[150,"030412004002","出口指示灯 1W*LED\r\n1.门顶0.1m壁装",null,null,"套","32"]
[151,"030412004003","单向疏散指示灯 1W*LED\r\n1.底边距地0.5m壁装",null,null,"套","51"]
[152,"030412004004","双向疏散指示灯 1W*LED\r\n1.底边距地0.5m壁装",null,null,"套","2"]
[153,"030412001001","吸顶灯",null,null,"套","107"]
[154,"030412001002","卫生间吸顶灯",null,null,"套","14"]
[155,"030404033001","卫生间排气扇",null,null,"台","4"]
[156,"030404034001","残卫求助呼叫系统",null,null,"套","2"]
[157,"030404034002","双联双控开关",null,null,"套","89"]
[158,"030404034003","跷板暗开关(单控)三联",null,null,"套","5"]
[159,"030404034004","跷板暗开关(单控)双联",null,null,"套","4"]
[160,"030404034005","跷板暗开关(单控)单联",null,null,"套","9"]
[161,"030412005001","双管荧光灯",null,null,"套","8"]
[162,"030412005002","单管荧光灯",null,null,"套","5"]
[163,"030404035001","电井插座",null,null,"套","21"]
[164,"030404035002","壁灯",null,null,"套","2"]
[165,"030411001001","砖、混凝土结构暗配 SC15",null,null,"m","1759.44"]
[166,"030411004001","管内穿线 WDZN-BYJ-2.5m\r\n",null,null,"m","3738.88"]
[167,"030413002001","管道刨沟槽及管沟槽恢复 管径20mm以内\r\n",null,null,"m","767.29"]
[null,"030901","水灭火系统"]
[168,"030901010001","更换消火栓 DN65（空箱体）\r\n1.拆除旧的消火栓箱；\r\n2.安装钢制消火栓箱240*700*1600mm；\r\n",null,null,"套","8"]
[null,"030904","火灾自动报警系统"]
[169,"030404017001","ATS-XFB控制柜",null,null,"台","1"]
[170,"030404017002","PLB控制柜",null,null,"台","1"]
["分部分项工程和单价措施项目清单与计价表"]
[]
["工程名称:校园消防设施维修工程",{"$nulls":6},"第13页 共15页"]
["序号","项目编码","项目名称及项目特征描述",null,null,"计量\r\n单位","工程量","金额(元)"]
[{"$nulls":7},"综合\r\n单价","合价","其中：\r\n暂估价"]
[171,"030404017003","XHSB控制柜",null,null,"台","1"]
[172,"030404017004","XFP控制柜",null,null,"台","1"]
[173,"030411003001","100*100消防防火线槽",null,null,"m","94.84"]
[174,"030413001001","一般铁构件制作安装",null,null,"kg","208.27"]
[175,"031201003001","金属结构刷油\r\n支架除锈后刷防锈二道漆，调和漆二道",null,null,"kg","208.27"]
[176,"030904012001","火灾报警控制器",null,null,"台","1"]
[177,"030905001001","自动报警系统调试500点以下",null,null,"系统","1"]
[178,"030404032001","接线端子箱",null,null,"台","6"]
[179,"030905003001","切断非消防电源",null,null,"个","6"]
[180,"030905003002","防火控制装置调试 切断非消防电源调试",null,null,"点","6.000"]
[181,"030904003001","手动报警按钮(带电话插孔)\r\n含接线底盒\r\n安装高度:中心距地1.5米暗装",null,null,"个","27"]
[182,"030904003002","消火栓报警按钮（带地址编码）",null,null,"个","43"]
[183,"030904004001","消防警铃",null,null,"个","27"]
[184,"030904006001","总线电话",null,null,"部","4"]
[185,"桂030904020001","火灾显示盘",null,null,"台","7"]
[186,"030904001001","感温探测器",null,null,"个","16"]
[187,"030904007001","扬声器壁挂式",null,null,"个","27"]
[188,"030904008001","短路隔离器HJ-1751",null,null,"套","6"]
[189,"030904008002","总线控制模块1825",null,null,"套","34"]
[190,"030904008003","输入模块HJ-1750",null,null,"套","8"]
[191,"030904008004","输入模块HJ-1750B",null,null,"套","7"]
[192,"030904008005","多线控制模块1807",null,null,"套","5"]
[193,"030411001002","砖、混凝土结构暗配 SC25",null,null,"m","363.31"]
[194,"030411001003","砖、混凝土结构暗配 SC20",null,null,"m","3151.90"]
[195,"030411001004","砖、混凝土结构暗配 SC40",null,null,"m","5.00"]
[196,"030411004002","线槽配线WD-ZCN-BYJ-2.5m",null,null,"m","712.36"]
[197,"030411004003","线槽配线WD-ZCN-BYJ-4m",null,null,"m","110.06"]
[198,"030411004004","线槽配线 ZCN-RVS-2*1.5m",null,null,"m","55.03"]
["分部分项工程和单价措施项目清单与计价表"]
[]
["工程名称:校园消防设施维修工程",{"$nulls":6},"第14页 共15页"]
["序号","项目编码","项目名称及项目特征描述",null,null,"计量\r\n单位","工程量","金额(元)"]
[{"$nulls":7},"综合\r\n单价","合价","其中：\r\n暂估价"]
[199,"030411004005","线槽配线WD-ZCN-BYJ-1.5m",null,null,"m","110.06"]
[200,"030411004006","线槽配线ZCN-RVS-4*1.5m",null,null,"m","41.03"]
[201,"030411004007","线槽配线ZCN-RVS-2*1.0m",null,null,"m","26.00"]
[202,"030411004008","管内配线WD-ZCN-BYJ-2.5m",null,null,"m","3618.20"]
[203,"030411004009","管内配线WD-ZCN-BYJ-1.5m",null,null,"m","1893.64"]
[204,"030411004010","管内配线ZCN-RVS-2*1.0m",null,null,"m","18.00"]
[205,"030408002001","控制电缆ZCN-KVV-16*1.5mm2",null,null,"m","158.88"]
[206,"030411004011","管内穿线 WD-ZCN-BYJ-2.5m",null,null,"m","1816.55"]
[207,"030411004012","管内穿线 ZCN-RVS-2*1.5m",null,null,"m","501.87"]
[208,"030411004013","管内穿线 ZCN-RVS-4*1.5m",null,null,"m","415.68"]
[209,"030411004014","管内穿线 ZCN-BV-1.5m",null,null,"m","30.00"]
[210,"030413002002","管道刨沟槽及管沟槽恢复 管径20mm以内\r\n",null,null,"m","236.10"]
[211,"030413002003","管道刨沟槽及管沟槽恢复 管径25mm以内\r\n",null,null,"m","35.00"]
[null,null,"小    计"]
[null,null,"∑人工费"]
[null,null,"∑材料费"]
[null,null,"∑机械费"]
[null,null,"∑管理费"]
[null,null,"∑利润"]
[null,null,"单价措施项目"]
[null,null,"小    计"]
[null,null,"∑人工费"]
[null,null,"∑材料费"]
[null,null,"∑机械费"]
[null,null,"∑管理费"]
[null,null,"∑利润"]
[null,null,"     "]
[null,null,"合    计"]
[null,null,"∑人工费"]
["分部分项工程和单价措施项目清单与计价表"]
[]
["工程名称:校园消防设施维修工程",{"$nulls":6},"第15页 共15页"]
["序号","项目编码","项目名称及项目特征描述",null,null,"计量\r\n单位","工程量","金额(元)"]
[{"$nulls":7},"综合\r\n单价","合价","其中：\r\n暂估价"]
[null,null,"∑材料费"]
[null,null,"∑机械费"]
[null,null,"∑管理费"]
[null,null,"∑利润"]
[null,null,"     "]
[null,null,"     "]
[null,null,"总    计"]
[null,null,"∑人工费"]
[null,null,"∑材料费"]
[null,null,"∑机械费"]
[null,null,"∑管理费"]
[null,null,"∑利润"]
{"$rows_empty":20}
[{"$nulls":9}," "]

{"sheet":"表-11总价措施项目清单与计价表","index":8,"n_rows":71,"n_cols":10,"rows_kept":71,"merged":[[0,0,0,9],[1,0,1,9],[2,0,2,7],[2,8,2,9],[3,2,3,4],[3,5,3,6],[4,0,4,1],[4,2,4,9],[5,2,5,6],[6,2,6,4],[6,5,8,6],[7,2,7,4],[8,2,8,4],[9,2,9,4],[9,5,9,6],[10,0,10,1],[10,2,10,9],[11,2,11,6],[12,2,12,4],[12,5,14,6],[13,2,13,4],[14,2,14,4],[15,2,15,4],[15,5,15,6],[16,0,16,1],[16,2,16,9],[17,2,17,6],[18,2,18,4],[18,5,20,6],[19,2,19,4],[20,2,20,4],[21,2,21,4],[21,5,21,6],[22,0,22,1],[22,2,22,9],[23,2,23,6],[24,2,24,4],[24,5,26,6],[25,2,25,4],[26,2,26,4],[27,2,27,4],[27,5,27,6],[28,0,28,1],[28,2,28,9],[29,2,29,6],[30,2,30,4],[30,5,31,6],[31,2,31,4],[32,0,32,9],[33,0,33,9],[34,0,34,9],[35,0,35,7],[35,8,35,9],[36,2,36,4],[36,5,36,6],[37,2,37,4],[37,5,37,6],[38,2,38,4],[38,5,38,6],[39,0,39,1],[39,2,39,9],[40,2,40,6],[41,2,41,4],[41,5,43,6],[42,2,42,4],[43,2,43,4],[44,2,44,4],[44,5,44,6],[45,2,45,4],[45,5,45,6],[46,2,46,4],[46,5,46,6],[47,2,47,4],[47,5,47,6],[48,2,48,4],[48,5,48,6],[49,2,49,4],[49,5,49,6],[50,2,50,4],[50,5,50,6],[51,2,51,4],[51,5,51,6],[52,2,52,4],[52,5,52,6],[53,2,53,4],[53,5,53,6],[54,2,54,4],[54,5,54,6],[55,2,55,4],[55,5,55,6],[56,2,56,4],[56,5,56,6],[57,2,57,4],[57,5,57,6],[58,2,58,4],[58,5,58,6],[59,2,59,4],[59,5,59,6],[60,2,60,4],[60,5,60,6],[61,2,61,4],[61,5,61,6],[62,2,62,4],[62,5,62,6],[63,2,63,4],[63,5,63,6],[64,2,64,4],[64,5,64,6],[65,2,65,4],[65,5,65,6],[66,2,66,4],[66,5,66,6],[67,2,67,4],[67,5,67,6],[68,2,68,4],[68,5,68,6],[69,2,69,4],[69,5,69,6],[70,0,70,9]],"flags":["formulas_cached_only"]}
["总价措施项目清单与计价表"]
[]
["工程名称:校园消防设施维修工程",{"$nulls":7},"第1页 共2页"]
["序号","项目编码","项目名称",null,null,"计算基础",null,"费率(%)\r\n或标准","金额(元)","备注"]
[null,null,"校园消防设施维修工程-食堂"]
[null,"一","给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
[1,"桂031401001001","安全文明施工费",null,null,"∑分部分项及单价措施费定额(人工费+机械费)"]
[2,"桂031401002001","检验试验配合费",null,null,"∑分部分项及单价措施费定额(人工费+机械费)"]
[3,"桂031401003001","雨季施工增加费",null,null,"∑分部分项及单价措施费定额(人工费+机械费)"]
[4,"桂031401010001","脚手架搭拆费"]
[null,null,"校园消防设施维修工程-A、B教学楼"]
[null,"二","给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
[1,"桂031401001001","安全文明施工费",null,null,"∑分部分项及单价措施费定额(人工费+机械费)"]
[2,"桂031401002001","检验试验配合费",null,null,"∑分部分项及单价措施费定额(人工费+机械费)"]
[3,"桂031401003001","雨季施工增加费",null,null,"∑分部分项及单价措施费定额(人工费+机械费)"]
[4,"桂031401010001","脚手架搭拆费"]
[null,null,"校园消防设施维修工程-1#~6#宿舍楼"]
[null,"三","给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
[1,"桂031401001001","安全文明施工费",null,null,"∑分部分项及单价措施费定额(人工费+机械费)"]
[2,"桂031401002001","检验试验配合费",null,null,"∑分部分项及单价措施费定额(人工费+机械费)"]
[3,"桂031401003001","雨季施工增加费",null,null,"∑分部分项及单价措施费定额(人工费+机械费)"]
[4,"桂031401010001","脚手架搭拆费"]
[null,null,"校园消防设施维修工程-体育馆"]
[null,"四","给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
[1,"桂031401001001","安全文明施工费",null,null,"∑分部分项及单价措施费定额(人工费+机械费)"]
[2,"桂031401002001","检验试验配合费",null,null,"∑分部分项及单价措施费定额(人工费+机械费)"]
[3,"桂031401003001","雨季施工增加费",null,null,"∑分部分项及单价措施费定额(人工费+机械费)"]
[4,"桂031401010001","脚手架搭拆费"]
[null,null,"校园消防设施维修工程-行政办公楼"]
[null,"五","给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
[1,"桂031401001001","安全文明施工费",null,null,"∑分部分项及单价措施费定额(人工费+机械费)"]
[2,"桂031401002001","检验试验配合费",null,null,"∑分部分项及单价措施费定额(人工费+机械费)"]
["注：以项计算的总价措施，无\"计算基础\"和\"费率\"的数值，可只填\"金额\"数值，但应在备注栏说明施工方案出处或计算方法。"]
["总价措施项目清单与计价表"]
[]
["工程名称:校园消防设施维修工程",{"$nulls":7},"第2页 共2页"]
["序号","项目编码","项目名称",null,null,"计算基础",null,"费率(%)\r\n或标准","金额(元)","备注"]
[3,"桂031401003001","雨季施工增加费",null,null,"∑分部分项及单价措施费定额(人工费+机械费)"]
[4,"桂031401010001","脚手架搭拆费"]
[null,null,"校园消防设施维修工程-图书馆"]
[null,"六","给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
[1,"桂031401001001","安全文明施工费",null,null,"∑分部分项及单价措施费定额(人工费+机械费)"]
[2,"桂031401002001","检验试验配合费",null,null,"∑分部分项及单价措施费定额(人工费+机械费)"]
[3,"桂031401003001","雨季施工增加费",null,null,"∑分部分项及单价措施费定额(人工费+机械费)"]
[4,"桂031401010001","脚手架搭拆费"]
[null,null,"合    计"]
{"$rows_empty":23}
[{"$nulls":9}," "]
["注：以项计算的总价措施，无\"计算基础\"和\"费率\"的数值，可只填\"金额\"数值，但应在备注栏说明施工方案出处或计算方法。"]

{"sheet":"表-12其他项目清单与计价汇总表","index":9,"n_rows":34,"n_cols":4,"rows_kept":34,"merged":[[0,0,0,3],[1,0,1,3],[2,0,2,2],[4,1,4,3],[6,1,6,3],[8,1,8,3],[10,1,10,3],[12,1,12,3],[14,1,14,3],[33,0,33,3]],"flags":["formulas_cached_only"]}
["其他项目清单与计价汇总表"]
[]
["工程名称:校园消防设施维修工程",null,null,"第1页 共1页"]
["序号","项目名称","金额(元)","备注"]
[null,"校园消防设施维修工程-食堂"]
["一","给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
[null,"校园消防设施维修工程-A、B教学楼"]
["二","给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
[null,"校园消防设施维修工程-1#~6#宿舍楼"]
["三","给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
[null,"校园消防设施维修工程-体育馆"]
["四","给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
[null,"校园消防设施维修工程-行政办公楼"]
["五","给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
[null,"校园消防设施维修工程-图书馆"]
["六","给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
[null,"合    计"]
{"$rows_empty":15}
[{"$nulls":3}," "]
["注：材料暂估单价进入清单项目综合单价，此处不汇总。"]

{"sheet":"表-15规费、增值税计价表","index":10,"n_rows":98,"n_cols":7,"rows_kept":98,"merged":[[0,0,0,6],[1,0,1,6],[2,0,2,3],[2,4,2,6],[3,2,3,4],[4,1,4,6],[5,1,5,4],[6,2,6,4],[7,2,12,4],[13,2,14,4],[15,2,15,4],[16,1,16,6],[17,1,17,4],[18,2,18,4],[19,2,24,4],[25,2,26,4],[27,2,27,4],[28,1,28,6],[29,1,29,4],[30,2,30,4],[31,2,31,4],[32,0,32,6],[33,0,33,6],[34,0,34,3],[34,4,34,6],[35,2,35,4],[36,2,40,4],[41,2,42,4],[43,2,43,4],[44,1,44,6],[45,1,45,4],[46,2,46,4],[47,2,52,4],[53,2,54,4],[55,2,55,4],[56,1,56,6],[57,1,57,4],[58,2,58,4],[59,2,63,4],[64,0,64,6],[65,0,65,6],[66,0,66,3],[66,4,66,6],[67,2,67,4],[68,2,68,4],[69,2,70,4],[71,2,71,4],[72,1,72,6],[73,1,73,4],[74,2,74,4],[75,2,80,4],[81,2,82,4],[83,2,83,4],[84,2,84,4],[85,2,85,4],[86,2,86,4],[87,2,87,4],[88,2,88,4],[89,2,89,4],[90,2,90,4],[91,2,91,4],[92,2,92,4],[93,2,93,4],[94,2,94,4],[95,2,95,4],[96,2,96,4],[97,2,97,4]],"flags":["formulas_cached_only"]}
["规费、增值税计价表"]
[]
["工程名称：校园消防设施维修工程",{"$nulls":3},"第 1 页 共 3 页"]
["序号","项目名称","计算基础",null,null,"计算费率\n\r(%)","金额\n\r(元)"]
[null,"校园消防设施维修工程-食堂"]
["一","给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
["1","规费","1.1 + 1.2 + 1.3"]
["1.1","社会保险费","Σ(分部分项人工费+单价措施人工费)"]
["1.1.1","养老保险费","Σ(分部分项人工费+单价措施人工费)"]
["1.1.2","失业保险费","Σ(分部分项人工费+单价措施人工费)"]
["1.1.3","医疗保险费","Σ(分部分项人工费+单价措施人工费)"]
["1.1.4","生育保险费","Σ(分部分项人工费+单价措施人工费)"]
["1.1.5","工伤保险费","Σ(分部分项人工费+单价措施人工费)"]
["1.2","住房公积金","Σ(分部分项人工费+单价措施人工费)"]
["1.3","工程排污费","Σ(分部分项人工费+单价措施人工费)"]
["2","增值税","Σ(分部分项工程和单价措施项目费+总价措施项目费+其他项目费+税前项目费+规费)"]
[null,"校园消防设施维修工程-A、B教学楼"]
["二","给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
["1","规费","1.1 + 1.2 + 1.3"]
["1.1","社会保险费","Σ(分部分项人工费+单价措施人工费)"]
["1.1.1","养老保险费","Σ(分部分项人工费+单价措施人工费)"]
["1.1.2","失业保险费","Σ(分部分项人工费+单价措施人工费)"]
["1.1.3","医疗保险费","Σ(分部分项人工费+单价措施人工费)"]
["1.1.4","生育保险费","Σ(分部分项人工费+单价措施人工费)"]
["1.1.5","工伤保险费","Σ(分部分项人工费+单价措施人工费)"]
["1.2","住房公积金","Σ(分部分项人工费+单价措施人工费)"]
["1.3","工程排污费","Σ(分部分项人工费+单价措施人工费)"]
["2","增值税","Σ(分部分项工程和单价措施项目费+总价措施项目费+其他项目费+税前项目费+规费)"]
[null,"校园消防设施维修工程-1#~6#宿舍楼"]
["三","给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
["1","规费","1.1 + 1.2 + 1.3"]
["1.1","社会保险费","Σ(分部分项人工费+单价措施人工费)"]
["规费、增值税计价表"]
[]
["工程名称：校园消防设施维修工程",{"$nulls":3},"第 2 页 共 3 页"]
["序号","项目名称","计算基础",null,null,"计算费率\n\r(%)","金额\n\r(元)"]
["1.1.1","养老保险费","Σ(分部分项人工费+单价措施人工费)"]
["1.1.2","失业保险费","Σ(分部分项人工费+单价措施人工费)"]
["1.1.3","医疗保险费","Σ(分部分项人工费+单价措施人工费)"]
["1.1.4","生育保险费","Σ(分部分项人工费+单价措施人工费)"]
["1.1.5","工伤保险费","Σ(分部分项人工费+单价措施人工费)"]
["1.2","住房公积金","Σ(分部分项人工费+单价措施人工费)"]
["1.3","工程排污费","Σ(分部分项人工费+单价措施人工费)"]
["2","增值税","Σ(分部分项工程和单价措施项目费+总价措施项目费+其他项目费+税前项目费+规费)"]
[null,"校园消防设施维修工程-体育馆"]
["四","给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
["1","规费","1.1 + 1.2 + 1.3"]
["1.1","社会保险费","Σ(分部分项人工费+单价措施人工费)"]
["1.1.1","养老保险费","Σ(分部分项人工费+单价措施人工费)"]
["1.1.2","失业保险费","Σ(分部分项人工费+单价措施人工费)"]
["1.1.3","医疗保险费","Σ(分部分项人工费+单价措施人工费)"]
["1.1.4","生育保险费","Σ(分部分项人工费+单价措施人工费)"]
["1.1.5","工伤保险费","Σ(分部分项人工费+单价措施人工费)"]
["1.2","住房公积金","Σ(分部分项人工费+单价措施人工费)"]
["1.3","工程排污费","Σ(分部分项人工费+单价措施人工费)"]
["2","增值税","Σ(分部分项工程和单价措施项目费+总价措施项目费+其他项目费+税前项目费+规费)"]
[null,"校园消防设施维修工程-行政办公楼"]
["五","给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
["1","规费","1.1 + 1.2 + 1.3"]
["1.1","社会保险费","Σ(分部分项人工费+单价措施人工费)"]
["1.1.1","养老保险费","Σ(分部分项人工费+单价措施人工费)"]
["1.1.2","失业保险费","Σ(分部分项人工费+单价措施人工费)"]
["1.1.3","医疗保险费","Σ(分部分项人工费+单价措施人工费)"]
["1.1.4","生育保险费","Σ(分部分项人工费+单价措施人工费)"]
["规费、增值税计价表"]
[]
["工程名称：校园消防设施维修工程",{"$nulls":3},"第 3 页 共 3 页"]
["序号","项目名称","计算基础",null,null,"计算费率\n\r(%)","金额\n\r(元)"]
["1.1.5","工伤保险费","Σ(分部分项人工费+单价措施人工费)"]
["1.2","住房公积金","Σ(分部分项人工费+单价措施人工费)"]
["1.3","工程排污费","Σ(分部分项人工费+单价措施人工费)"]
["2","增值税","Σ(分部分项工程和单价措施项目费+总价措施项目费+其他项目费+税前项目费+规费)"]
[null,"校园消防设施维修工程-图书馆"]
["六","给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
["1","规费","1.1 + 1.2 + 1.3"]
["1.1","社会保险费","Σ(分部分项人工费+单价措施人工费)"]
["1.1.1","养老保险费","Σ(分部分项人工费+单价措施人工费)"]
["1.1.2","失业保险费","Σ(分部分项人工费+单价措施人工费)"]
["1.1.3","医疗保险费","Σ(分部分项人工费+单价措施人工费)"]
["1.1.4","生育保险费","Σ(分部分项人工费+单价措施人工费)"]
["1.1.5","工伤保险费","Σ(分部分项人工费+单价措施人工费)"]
["1.2","住房公积金","Σ(分部分项人工费+单价措施人工费)"]
["1.3","工程排污费","Σ(分部分项人工费+单价措施人工费)"]
["2","增值税","Σ(分部分项工程和单价措施项目费+总价措施项目费+其他项目费+税前项目费+规费)"]
[null,null,"合    计"]
{"$rows_empty":12}
[{"$nulls":6}," "]

{"sheet":"材料价格表(信息价)","index":11,"n_rows":38,"n_cols":6,"rows_kept":38,"merged":[[0,0,0,5],[1,0,1,5],[2,0,2,3],[2,4,2,5]],"flags":["formulas_cached_only"]}
["材料价格表"]
[]
["工程名称:校园消防设施维修工程",{"$nulls":3},"第1页 共1页"]
["序号","材料编码","项目名称及规格、型号等特殊要求","单位","数量","单价(元)"]
["1","010310001","镀锌铁丝(综合)","kg"," "," "]
["2","010903001","圆钢HPB300 Φ10以内(综合)","kg"," "," "]
["3","010903015","圆钢HPB300 Φ10～14","kg"," "," "]
["4","011302007","扁钢 60以内","kg"," "," "]
["5","011303001_1","镀锌扁钢 (综合)","kg"," "," "]
["6","030127034","镀锌螺栓 M10×100","套"," "," "]
["7","031311001","电焊条(综合)","kg"," "," "]
["8","031311002","电焊条 结422Φ2.5~3.2","kg"," "," "]
["9","031311003","电焊条 结422 Φ3.2","kg"," "," "]
["10","031347001_1","砂纸","张"," "," "]
["11","031347004","铁砂布","张"," "," "]
["12","040102001","普通硅酸盐水泥 32.5MPa","t"," "," "]
["13","040301001","砂(综合)",""," "," "]
["14","110305001_1","钢质甲级防火门(成品)",""," "," "]
["15","110305001_2","钢质乙级防火门(成品)",""," "," "]
["16","110305001_3","钢质丙级防火门(成品)",""," "," "]
["17","130102001","调和漆(综合)","kg"," "," "]
["18","130503001","沥青漆","kg"," "," "]
["19","130507001","防锈漆","kg"," "," "]
["20","140101001","清油","kg"," "," "]
["21","140301004","国V汽油 92#","kg"," "," "]
["22","140304001","轻柴油 0#","kg"," "," "]
["23","143906001","氧气",""," "," "]
["24","291111001","开关盒","个"," "," "]
["25","291112001","接线盒","个"," "," "]
["26","341101001","水",""," "," "]
["27","341103001","电","kW·h"," "," "]
["28","341103001_1","电","kW·h"," "," "]
[]
[]
[]
[]
[]
[{"$nulls":5}," "]